MATERIAL SAFETY DATA SHEET

SECTION 1.  PRODUCT IDENTIFICATION

PRODUCT NAME:	Argon, compressed

CHEMICAL NAME:	Argon	FORMULA:  Ar

SYNONYMS:	Argon gas, Gaseous Argon, GAR

MANUFACTURER:	Air Products and Chemicals, Inc.

7201 Hamilton Boulevard

Allentown, PA 18195-1501

PRODUCT INFORMATION:	1-800-752-1597

MSDS NUMBER:  1004		REVISION:  4

REVISION DATE:  March 1994		REVIEW DATE:  August 1997**

SECTION 2.  COMPOSITION / INFORMATION ON INGREDIENTS

Argon is sold as pure product > 99%.

CAS NUMBER:  7440-37-1

EXPOSURE LIMITS:

OSHA:  Not established 	ACGIH:  Simple asphyxiant	NIOSH:  Not established

SECTION 3.  HAZARDS IDENTIFICATION

EMERGENCY OVERVIEW

Argon is a nontoxic, odorless, colorless, nonflammable gas stored in cylinders at high pressure.  It can cause rapid suffocation when concentrations are sufficient to reduce oxygen levels below 19.5%.  It is heavier than air and may concentrate in low areas.  Self- Contained Breathing Apparatus (SCBA) may be required.

EMERGENCY TELEPHONE NUMBERS

800 - 523 - 9374  Continental U.S., Canada and Puerto Rico

610 - 481 - 7711  other locations

POTENTIAL HEALTH EFFECTS INFORMATION:

INHALATION:  Simple asphyxiant.  Argon is nontoxic, but may cause suffocation by displacing the oxygen in air. Lack of sufficient oxygen can cause serious injury or death.

EYE CONTACT:   No adverse effect.

SKIN CONTACT:   No adverse effect.

EXPOSURE INFORMATION:

ROUTE OF ENTRY:  Inhalation

TARGET ORGANS:  None

EFFECT:  Asphyxiation  (suffocation)

SYMPTOMS:  Exposure to an oxygen deficient atmosphere (<19.5%) may cause dizziness, drowsiness, nausea, vomiting, excess salivation, diminished mental alertness, loss of consciousness and death.  Exposure to atmospheres containing 8-10% or less oxygen will bring about unconsciousness without warning and so quickly that the individuals cannot help themselves.

MEDICAL CONDITIONS AGGRAVATED BY OVEREXPOSURE:  None

CARCINOGENIC POTENTIAL:  Argon is not listed as a carcinogen or potential carcinogen by NTP, IARC, or OSHA Subpart Z.

SECTION 4.  FIRST AID

INHALATION:  Persons suffering from lack of oxygen should be moved to fresh air.  If victim is not breathing, administer artificial respiration.  If breathing is difficult, administer oxygen.  Obtain prompt medical attention.

EYE CONTACT:  Not applicable.

SKIN CONTACT:  Not applicable.

SECTION 5.  FIRE AND EXPLOSION

FLASH POINT:	AUTOIGNITION:	FLAMMABLE LIMITS:

Not applicable	Nonflammable	Nonflammable

EXTINGUISHING MEDIA:  Argon is nonflammable and does not support combustion.  Use extinguishing media appropriate for the surrounding fire.

HAZARDOUS COMBUSTION PRODUCTS:  None

SPECIAL FIRE FIGHTING INSTRUCTIONS:  Argon is a simple asphyxiant.  If possible, remove argon cylinders from fire area or cool with water.  Self contained breathing apparatus may be required for rescue workers.

UNUSUAL FIRE AND EXPLOSION HAZARDS:  Upon exposure to intense heat or flame cylinder will vent rapidly and or rupture violently.  Most cylinders are designed to vent contents when exposed to elevated temperatures.  Pressure in a container can build up due to heat and it may rupture if pressure relief devices should fail to function.

SECTION 6.  ACCIDENTAL RELEASE MEASURES

Evacuate all personnel from affected area.  Increase ventilation to release area and monitor oxygen level.  Use appropriate protective equipment (SCBA).  If leak is from container or its valve, call the Air Products emergency telephone number.  If leak is in user’s system close cylinder valve and vent pressure before attempting repairs.

SECTION 7.  HANDLING AND STORAGE

STORAGE:  Cylinders should be stored upright in a well-ventilated, secure area, protected from the weather.  Storage area temperatures should not exceed 125 °F (52 °C) and area should be free of combustible materials.  Storage should be away from heavily traveled areas and emergency exits.  Avoid areas where salt or other corrosive materials are present.  Valve protection caps and valve outlet seals should remain on cylinders not connected for use.  Separate full from empty cylinders.  Avoid excessive inventory and storage time.  Use a first-in first-out system.  Keep good inventory records.

HANDLING:  Do not drag, roll, or slide cylinder.  Use a suitable handtruck designed for cylinder movement.  Never attempt to lift a cylinder by its cap.  Secure cylinders at all times while in use.  Use a pressure reducing regulator or separate control valve  to safely discharge gas from cylinder.  Use a check valve to prevent reverse flow into cylinder.   If user experiences any difficulty operating cylinder valve, discontinue use and contact supplier.  Never insert an object (e.g., wrench, screwdriver, pry bar, etc.) into valve cap openings.  Doing so may damage valve causing a leak to occur.  Use an adjustable strap-wrench to remove over-tight or rusted caps.

Argon is compatible with all common materials of construction.  Pressure requirements should be considered when selecting materials and designing systems.

SPECIAL REQUIREMENTS:  Always store and handle compressed gases in accordance with Compressed Gas Association, Inc. (Tel.703-412-0900) pamphlet CGA P-1, Safe Handling of Compressed Gases in Containers.  Local regulations may require specific equipment for storage or use.

CAUTION: Compressed gas cylinders shall not be refilled except by qualified producers of compressed gases.  Shipment of a compressed gas cylinder which has not been filled by the owner or with the owner’s written consent is a violation of federal law (49 CFR 173.301).

SECTION 8.  PERSONAL PROTECTION / EXPOSURE CONTROL

ENGINEERING CONTROLS:  Provide good ventilation and/or local exhaust to prevent  accumulation of high concentrations of gas.  Oxygen levels in work area should be monitored to ensure they do not fall below 19.5%.

RESPIRATORY PROTECTION:

GENERAL USE:  None required.

EMERGENCY:  Use SCBA or positive pressure air line with mask and escape pack in areas where 	oxygen concentration is less than 19.5%.  Air purifying respirators will not provide protection.

OTHER PROTECTIVE EQUIPMENT:  Safety shoes and leather work gloves are recommended when handling cylinders.

SECTION 9.  PHYSICAL AND CHEMICAL PROPERTIES

APPEARANCE:  Colorless gas

ODOR:  Odorless

MOLECULAR WEIGHT:  39.95

BOILING POINT (1 atm):  -302.2 °F (-185.9 °C)

SPECIFIC GRAVITY (Air =1):  1.38

SPECIFIC VOLUME (at 70 °F (21.1 °C) and 1 atm):  9.7 ft3/lb. (0.606 m3/kg)

FREEZING POINT/MELTING POINT:  -308.9 °F (-189.4 °C)

VAPOR PRESSURE:  Not applicable at 70 °F

GAS DENSITY (at 70 °F (21.1 °C) and 1 atm):  0.103 lb/ft3 (1.65 kg/m3)

SOLUBILITY IN WATER (Vol/Vol at 32 °F (0°C)):  0.056

SECTION 10.  STABILITY AND REACTIVITY

CHEMICAL STABILITY:  Stable

CONDITIONS TO AVOID:  None

INCOMPATIBILITY:  None

HAZARDOUS DECOMPOSITION PRODUCTS:  None

HAZARDOUS POLYMERIZATION:  Will not occur.

SECTION 11.  TOXICOLOGICAL INFORMATION

Argon is a simple asphyxiant.

SECTION 12.  ECOLOGICAL INFORMATION

The atmosphere contains approximately 1% argon.  No adverse ecological effects are expected.  Argon does not contain any Class I or Class II ozone depleting chemicals.  Argon is not listed as a marine pollutant by DOT (49 CFR 171).

SECTION 13.  DISPOSAL

UNUSED PRODUCT / EMPTY CONTAINER:  Return cylinder and unused product to supplier.  Do not attempt to dispose of residual or unused quantities.

DISPOSAL:  For emergency disposal, secure the cylinder and slowly discharge gas to the atmosphere in a well ventilated area or outdoors.

SECTION 14.  TRANSPORT INFORMATION

DOT HAZARD CLASS:  2.2

DOT SHIPPING LABEL:  Nonflammable Gas

DOT SHIPPING NAME:  Argon, compressed

IDENTIFICATION NUMBER:  UN1006

REPORTABLE QUANTITY (RQ):  None

SPECIAL SHIPPING INFORMATION:  Cylinders should be transported in a secure upright position in a well ventilated truck.  Never transport in passenger compartment of a vehicle.

SECTION 15.  REGULATORY INFORMATION

U.S. FEDERAL REGULATIONS:

Environmental Protection Agency (EPA)

CERCLA:  Comprehensive Environmental Response, Compensation, and Liability Act of 1980 requires notification to the National Response Center of a release of quantities of hazardous substances equal to or greater than the reportable quantities (RQ’s) in 40 CFR 302.4.

CERCLA Reportable Quantity:  None.

SARA TITLE III:  Superfund Amendment and Reauthorization Act of 1986

SECTION 302/304:  Requires emergency planning on threshold planning quantities (TPQ) and release reporting based on reportable quantities (RQ) of EPA's extremely hazardous substances (40 CFR 355).

Argon is not listed as an extremely hazardous substance.

Threshold Planning Quantity (TPQ):  None

SECTIONS 311/312:  Require submission of material safety data sheets  (MSDSs) and chemical inventory reporting with identification of EPA  defined hazard classes.  The hazard classes for this product are:

IMMEDIATE HEALTH:  	No	PRESSURE:  	Yes

DELAYED HEALTH:  	No	REACTIVITY:  	No

FIRE:  	No

SECTION 313:  Requires submission of annual reports of release of toxic chemicals that appear in 40 CFR 372.

Argon does not require reporting under Section 313

40 CFR Part 68 - Risk Management for Chemical Accident Release Prevention:  Requires the development and implementation of risk management programs at facilities that manufacture, use, store, or otherwise handle regulated substances in quantities that exceed specified thresholds.

Argon is not listed as a regulated substance.

TSCA - TOXIC SUBSTANCES CONTROL ACT:  Argon is listed on the TSCA inventory.

OSHA - OCCUPATIONAL SAFETY AND HEALTH ADMINISTRATION

29 CFR 1910.119:  Process Safety Management of Highly Hazardous Chemicals.  Requires facilities to develop a process safety management  program based on Threshold Quantities (TQ) of highly hazardous  chemicals.

Argon is not listed in Appendix A as a highly hazardous chemical.

STATE REGULATIONS:

CALIFORNIA:

Proposition 65:  This product does NOT contain any listed substances which the State of California requires warning under this statute.

SCAQMD Rule:	VOC = Not applicable

SECTION 16.  OTHER INFORMATION

HAZARD RATINGS:

NFPA RATINGS:	HMIS RATINGS:

HEALTH:	 0	HEALTH:	0

FLAMMABILITY:	 0	FLAMMABILITY:	0

REACTIVITY:	 0	REACTIVITY:	0

SPECIAL:	SA*

*Compressed Gas Association recommendation  to designate simple asphyxiant.

**Revision information:  Documents with Review Dates August 1997 and Revision Date March 1994 are identical in content and either can be used.